## Sheet1
description | equipment | equipmentName | equipmentInstance | component | componentName | componentInstance | subcomponent | subcomponentName | subcomponentInstance | measureLocation | measureProperty | measureType | measureUnit | tagType | limRangeHi | limRangeLo | limHi | limLo | measureInstance | system | systemName | systemInstance | limHiHi | limLoLo
GRATE __z__ SCREW FEEDER __c__ LOAD BUCKET __m__ TUNING PARAMETER | LOOKUP TABLE | LOOKUP TABLE 1 | 1 | GT SCREW | GT SCREW __c__ | __c__ | - | - | - | - | TUNING PARAMETER | TUNING | - | INPUT | - | - | - | - | __m__ | GRATE COMBUSTOR | GRATE COMBUSTOR __z__ | __z__ | - | -
GRATE __z__ TROLLEY __s__ LOAD BUCKET __m__ TUNING PARAMETER | LOOKUP TABLE | LOOKUP TABLE 1 | 1 | GRATE | GRATE 1 | 1 | TROLLEY | TROLLEY __s__ | __s__ | - | TUNING PARAMETER | TUNING | - | INPUT | - | - | - | - | __m__ | GRATE COMBUSTOR | GRATE COMBUSTOR __z__ | __z__ | - | -
GRATE __z__ PRIMARY DAMPER __c__ LOAD BUCKET __m__ TUNING PARAMETER | LOOKUP TABLE | LOOKUP TABLE 1 | 1 | PRIMARY DAMPER | PRIMARY DAMPER __c__ | __c__ | - | - | - | - | TUNING PARAMETER | TUNING | - | INPUT | - | - | - | - | __m__ | GRATE COMBUSTOR | GRATE COMBUSTOR __z__ | __z__ | - | -
GRATE __z__ SECONDARY DAMPER __c__ LOAD BUCKET __m__ TUNING PARAMETER | LOOKUP TABLE | LOOKUP TABLE 1 | 1 | SECONDARY DAMPER | SECONDARY DAMPER __c__ | __c__ | - | - | - | - | TUNING PARAMETER | TUNING | - | INPUT | - | - | - | - | __m__ | GRATE COMBUSTOR | GRATE COMBUSTOR __z__ | __z__ | - | -
LOAD BUCKET __m__ CUT OFF | LOOKUP TABLE | LOOKUP TABLE 1 | 1 | BOILER LOAD | BOILER LOAD 1 | 1 | - | - | - | - | TUNING PARAMETER | TUNING | - | INPUT | - | - | - | - | __m__ | - | - | - | - | -
PLENUM BED __z__ SCREW FEEDER __c__ LOAD BUCKET __m__ TUNING PARAMETER | LOOKUP TABLE | LOOKUP TABLE 1 | 1 | SCREW FEEDER | SCREW FEEDER __c__ | __c__ | - | - | - | - | TUNING PARAMETER | TUNING | - | INPUT | - | - | - | - | __m__ | BED COMBUSTOR | BED COMBUSTOR __z__ | __z__ | - | -
PLENUM BED __z__ ROTARY FEEDER __c__ LOAD BUCKET __m__ TUNING PARAMETER | LOOKUP TABLE | LOOKUP TABLE 1 | 1 | ROTARY FEEDER | ROTARY FEEDER __c__ | __c__ | - | - | - | - | TUNING PARAMETER | TUNING | - | INPUT | - | - | - | - | __m__ | BED COMBUSTOR | BED COMBUSTOR __z__ | __z__ | - | -
PLENUM BED __z__ FD FAN 1 LOAD BUCKET __m__ TUNING PARAMETER | LOOKUP TABLE | LOOKUP TABLE 1 | 1 | FD FAN | FD FAN 1 | 1 | - | - | - | - | TUNING PARAMETER | TUNING | - | INPUT | - | - | - | - | __m__ | BED COMBUSTOR | BED COMBUSTOR __z__ | __z__ | - | -
PLENUM BED __z__ PRIMARY DAMPER 1 LOAD BUCKET __m__ TUNING PARAMETER | LOOKUP TABLE | LOOKUP TABLE 1 | 1 | PRIMARY DAMPER | PRIMARY DAMPER 1 | 1 | - | - | - | - | TUNING PARAMETER | TUNING | - | INPUT | - | - | - | - | __m__ | BED COMBUSTOR | BED COMBUSTOR __z__ | __z__ | - | -